Bimetallic SH-900 Steam Trap

Category: Steam Trap

Type: Bimetallic

Model: SH-900

Armstrong bimetallic style steam traps in stainless steel with integral stainless steel strainer, inline repairable. The mechanism shall consist of a stacked nickel-chrome bimetal operator, with titanium valve and seat. The steam trap shall be capable of operation on low-load applications throughout its pressure/temperature range.